MRDD Medicaid Waiver

Environmental Safety Checklist

Agency: _____________________________________________________   Date: ____________________________

Address: _______________________________________________________________________________________

Reviewer: ______________________________________

□ Provisional Site Review:     □ New Provider		□ Existing Provider Adding New Service

□ Comprehensive Site Survey:  □ Provisional		□ Existing Provider

| Required Documentation/Verification | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Individuals’ homes & other environments are clean, safe, and well maintained. 4.2.02 |  |  |  |  |
| Water temperature is at a safe level. 4.2.02 |  |  |  |  |
| Home temperature is in the comfort range of 68-85. 4.2.08 |  |  |  |  |
| Site has modifications or adaptations to ensure safety/accessibility (ramps, grab bars, vehicle lifts, etc.). 4.2.03 |  |  |  |  |
| If not on public water supply, the water is inspected annually by a health agency. 4.2.04 |  |  |  |  |
| Site has approved fire inspection annually (Res Hab & On-site Day Hab.) 4.2.04 – Inspection by State Fire Marshal required per 9 CSR 45-5.110 for On-site Day Hab. and 9 CSR 45.130, 5.140 & 5.150 for Res Hab. |  |  |  |  |
| There are systems in place to assure preventive maintenance of agency-owned vehicles, equipment, and buildings with documentation of maintenance performed on a regular basis and in a timely manner. 4.2.05 |  |  |  |  |
| Verification of vehicle insurance, inspections, and license. 4.2.06 |  |  |  |  |
| Emergency information & phone numbers are maintained and accessible to person and support staff at all times. 4.2.09 |  |  |  |  |

| Emergency drills on all shifts on which individuals are present. 4.2.10 (Number of drills per 9 CSR 45-5.110 for On-site Day Hab. And 9 CSR 45.130, 5.140 & 5.150 Res Hab.) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Exits are adequate (at least one means of exit or pathway to an exit on each floor) and not blocked. Exit doors open easily. Fire doors not propped open. 4.2.12 |  |  |  |  |
| There is a fire extinguisher in or near the kitchen. 4.2.13 |  |  |  |  |
| Fire extinguishers have expiration date or preventive maintenance tag/documentation, and indicator of charge. 4.2.13 |  |  |  |  |
| Smoke detectors are on each level of the home, are in or near bedrooms, are adaptive, as needed. 4.2.14 |  |  |  |  |
| Carbon monoxide detectors are present when required (gas stove, gas water heater, attached garage). 9 CSR 45-5.110 for On-site Day Hab. and 9 CSR 45.130, 5.140 & 5.150 for Res Hab. Also need to check in ISL sites. |  |  |  |  |
| First aid supplies are available and stocked. 4.2.16 |  |  |  |  |
| Combustible supplies and equipment are stored safely. (Away from heat or flame…furnace, hot water heater, etc.). 4.2.20 |  |  |  |  |
| Individuals and staff use safe and sanitary practices in all phases of food preparation and clean up. 4.2.21 |  |  |  |  |
| Individuals use adaptive, corrective, mobility, orthotic, and prosthetic equipment that is in good repair. 4.2.24 |  |  |  |  |

Additional Comments:

GRL: Revised 11/13/07  Revised 11/26/07jsf